## table
0 | 1 | 2 | 3 | 4 | 5
| Owned and Leased Capability MW-1 | Owned and Leased Capability MW-1 | Owned and Leased Capability MW-1 | Owned and Leased Capability MW-1 | Owned and Leased Capability MW-1
Company | Total | Gas/Oil | Nuclear | Coal | Hydro
Entergy Arkansas | 4774 | 1668 | 1823 | 1209 | 74
Entergy Gulf States Louisiana | 3317 | 1980 | 974 | 363 | -
Entergy Louisiana | 5424 | 4265 | 1159 | - | -
Entergy Mississippi | 3229 | 2809 | - | 420 | -
Entergy New Orleans | 764 | 764 | - | - | -
Entergy Texas | 2538 | 2269 | - | 269 | -
System Energy | 1071 | - | 1071 | - | -
Total | 21117 | 13755 | 5027 | 2261 | 74

## description
description
(1) “Owned and Leased Capability” is the dependable load carrying capability as demonstrated under actual operating conditions based on the primary fuel (assuming no curtailments) that each station was designed to utilize. The Entergy System's load and capacity projections are reviewed periodically to assess the need and timing for additional generating capacity and interconnections. These reviews consider existing and projected demand, the availability and price of power, the location of new load, and the economy. Summer peak load in the Entergy System service territory has averaged 21,246 MW from 2002-2011. In the 2002 time period, the Entergy System's long-term capacity resources, allowing for an adequate reserve margin, were approximately 3,000 MW less than the total capacity required for peak period demands. In this time period the Entergy System met its capacity shortages almost entirely through short-term power purchases in the wholesale spot market. In the fall of 2002, the Entergy System began a program to add new resources to its existing generation portfolio and began a process of issuing requests for proposals (RFP) to procure supply-side resources from sources other than the spot market to meet the unique regional needs of the Utility operating companies. The Entergy System has adopted a long-term resource strategy that calls for the bulk of capacity needs to be met through long-term resources, whether owned or contracted. Entergy refers to this strategy as the "Portfolio Transformation Strategy". Over the past nine years, Portfolio Transformation has resulted in the addition of about 4,500 MW of new long-term resources. These figures do not include transactions currently pending as a result of the Summer 2009 RFP. When the Summer 2009 RFP transactions are included in the Entergy System portfolio of long-term resources and adjusting for unit deactivations of older generation, the Entergy System is approximately 500 MW short of its projected 2012 peak load plus reserve margin. This remaining need is expected to be met through a nuclear uprate at Grand Gulf and limited-term resources. The Entergy System will continue to access the spot power market to economically Entergy Corporation and Subsidiaries Management's Financial Discussion and Analysis 8 Refer to “SELECTED FINANCIAL DATA - FIVE-YEAR COMPARISON OF ENTERGY CORPORATION AND SUBSIDIARIES” which accompanies Entergy Corporation’s financial statements in this report for further information with respect to operating statistics. In November 2007 the Board approved a plan to pursue a separation of Entergy’s non-utility nuclear business from Entergy through a spin-off of the business to Entergy shareholders. In April 2010, Entergy announced that it planned to unwind the business infrastructure associated with the proposed spin-off transaction. As a result of the plan to unwind the business infrastructure, Entergy recorded expenses in 2010 for the write-off of certain capitalized costs incurred in connection with the planned spin-off transaction. These costs are discussed in more detail below and throughout this section. Net Revenue Utility Following is an analysis of the change in net revenue comparing 2010 to 2009.